## Slide 1
Purification Test by
SDS Polyacrylamide Gel Electrophoresis (SDS-PAGE)
Sodium-Dodecylsulfate (SDS)
2-ME

## Slide 2: gel electrophoresis
protein sample
cathode
anode
the porous gel is made of crosslinked chemical chains
proteins with negative charge move to the anode
proteins with positive charge move to the cathode
buffer
gel
buffer

## Slide 3
Model
Gel-Electrophoresis

## Slide 4: SDS-PAGE (SDS Polyacrylamide Gel Electrophoresis)
the lipophilic part of the SDS attaches to the lipophilic amino acids in the protein
the hydrophilic part/negative charge of the SDS shows to the outside of the protein
SDS
CH3-(CH2)10-CH2-O-SO2-O- Na+
SDS = sodium dodecylsulfate
SDS
lipophilic
hydrophilic
protein
SDS
hydrophilic
lipophilic
consequences of SDS treatment
all the proteins are negatively charged and migrate to the anode
all the proteins have the same shape = streched shape

## Slide 5: separation of proteins by SDS-PAGE
CH3-(CH2)10-CH2-O-SO2-O- Na+
Sodium-Dodecylsulfate (SDS)
+
-
protein mixture
migration direction
electrophoresis
porous gel
load SDS-treated protein mixture onto gel
negatively charged SDS-protein-complexes migrate to the anode
proteins are separated by their size by the filtration principle of the gel
 small proteins migrate faster than large proteins

## Slide 6: molecular weight (MW) determination by SDS-PAGE
MW standard
sample
migration
sample application
protein separation
kDa

## Slide 7: molecular weight (MW) determination by SDS-PAGE
migration distance of protein standard
migration distance
determine MW of sample by calibration curve
stain proteins
migration distance of sample
calibration curve

## Slide 8: types of SDS-PAGE
reducing SDS-PAGE
non-reducing SDS-PAGE

## Slide 9: reducing SDS-PAGE of proteins
action on proteins
reduction of inter- and intramolecular disulfide bridges by the reducing agent  destruction of protein structure
determination of the molecular weight of the protein chains
treatment (boiling) of proteins with reducing agents + SDS
reducing agents
  2-ME (2-mercaptoethanol, -mercaptoethanol)
  DTT (dithiothreitol)
2-ME
DTT
protein with two chains A and B linked by disulfide bridge
single chain protein
treatment with 2-ME + SDS
negative charge

## Slide 10: non-reducing SDS-PAGE of proteins
action on proteins
no reduction of disulfide bridges
determination of the molecular weight of the complete protein
treatment of proteins with SDS, but not with reducing agents
SDS
protein with two chains A and B linked by disulfide bridge
negative charge

## Slide 11: types of SDS-PAGE
reducing SDS-PAGE
non-reducing SDS-PAGE
protein with two chains A and B linked by disulfide bridge
reducing SDS-treatment
non-reducing SDS-treatment
protein chains
complete protein

## Slide 12: SDS-PAGE for MW determination
molecular weight standard
runs together with protein sample to the left and right side of sample
ready-to-use standards are commercially available, different standards for different MW ranges, mixture of 6 to 10 proteins
colored molecular weight marker

## Slide 13
The End