## Slide 1
b-Galactosidase – Raw Milk Test
Dive test stripes for 2 seconds in raw milk
Excess of raw milk snip away
Wait for 30 seconds
Compare colour of test field of the stripe with colour scale of the stripe
box

## Slide 2
b-Galactosidase – Raw Milk Test
Eppendorf-Tube
1 ml raw milk
20 °C
30 minutes
+
100 ml
H2O
+
100 ml
25%
Eluate
?
mg/l
Glucose
Eppendorf-Tube
1 ml raw milk
20 °C
30 minutes …
?
mg/l
Glucose
Control Assay

## Slide 3
b-Galactosidase – Raw Milk Test
+
100 ml
H2O or 25 % Eluate
Eppendorf-Tube
1 ml raw milk
20 °C
?
mg x L-1
Glucose
Control / Assay
time (min) | t0 | t10 | t20 | t30 | t∞
control (mg x L-1 ) |  |  |  |  | 
assay (mg x L-1 ) |  |  |  |  |