# Purity Test of Lactase after AEXC by PAGE

4.	Enzyme Assay of Lactase

4.1  Preparation of an o-NPG-solution 
	C = 2 mg/mL o-NPG in PM-buffer
	
	PM buffer:

0,01 mol/L NaH2PO4

0,09 mol/L Na2HPO4

1 mmol/L MgSO4
	adjusted to pH 7,8

4.2  O-NPG-Test

- Pipet in the sample cuvette 50 µL super-natant + 800 µL o-NPG-solution.

- Close the cuvette by a lid and mix the solution by turning the cuvette upside down.

- Put the cuvette in a fotometer and measure absorption at the beginning (t0) and over 
5 min each 30 sec at 410 nm.

- AEXC Purity Evaluation by PAGE

Prepare a 2 M DTT stem solution
Dissolve 0,03 g DTT in 100 L H2Odest. by vortexing

Preparation of reducing Laemmli-Buffer

20 L 2 M DTT-Stammlösung + 
2 mL 2x Lämmli-Puffer

Preparation of Electrophoresis Buffer

Each Chamber needs 350 mL 1x TGS:

35 mL 10x TGS  +  315 mL H2Odest.

Preparation of gel cassette

- To open the gel cassette at the botom take away the sticky stripe at the bottom of the gel cassette.

- To open the gel cassette at the top pull out the comb of the gel.

Conducting the PAGE

Run currency: 200 V

Stop PAGE when bromphenolblue has already left the gel for 5 min.

- Quick Test of Lactase in Raw Milk

Material:
- Quantofix Glucose Test Stripes (4/group)

- Valentin buys raw milk