Summary of Results from  Group 8 Lactase Downstream Processing
Evreux 23. – 27.03.2026

---
Group 8 + presentation of group members
Linas Ambrazevicius
Lithuanian
ChristinaTriantafyllopoulou
 Greek
Enola Dusautoir
French

---
Evaluation Steps of our Experiment
PARTICLE FREE LYSATE – o-NPG-test (enzymatic activity assay)
ANION EXCHANGE CHROMATOGRAPHY (AEXC) – o-NPG + photometer (enzymatic activity assay)
SDS – PAGE – gel + calibration line (purity, molecular weight – lactase)
RAW MILK TEST – colour change (conc. of glucose)
EVALUATION

---
O-NPG-TEST of 1:10 diluted Particle Free Lysate
Test 50 μL supernatant + 500 μL o-NPG-solution.
Observation: The color of the particle free lysate
turned yellow
Evaluation: β(1→4) bond was broken down
Conclusion: lactase is present→ We can start AEXC.
Picture of cuvette

---
Evaluation Steps of our Experiment
PARTICLE FREE LYSATE – o-NPG-test (enzymatic activity assay)
ANION EXCHANGE CHROMATOGRAPHY (AEXC) – o-NPG + photometer (enzymatic activity assay)
SDS – PAGE – gel + calibration line (purity, molecular weight – lactase)
RAW MILK TEST – colour change (conc. of glucose)
EVALUATION

---
ANION EXCHANGE CHROMATOGRAPHY
O-NPG-test measured by photometer – enzymatic activity measurement
Test 50 μL eluate + 800 μL o-NPG-solution.
Observation: We can observe that every sample in fotography stayed stable
Evaluation: from the diagram we evaluate that non of these samples contain enzymic activity
Conclusion: There is no lactase in any of the samples because there is no enzymic activity which means eather a mistake has been made previously or the enzymes in the eluates are dead.

---
Evaluation Steps of our Experiment
PARTICLE FREE LYSATE – o-NPG-test (enzymatic activity assay)
ANION EXCHANGE CHROMATOGRAPHY (AEXC) – o-NPG + photometer (enzymatic activity assay)
SDS – PAGE – gel + calibration line (purity, molecular weight – lactase)
RAW MILK TEST – colour change (conc. of glucose)
EVALUATION

---
SDS - PAGE
MARKER
S1: lysate (dilution factor 10)
S2: loading flow through
S3: washing step
S4: eluate 10%
S5: eluate 25%
S6: eluate 100%
Observation: We can observe that only the marker is visible on the gel and not any proteins on the other wells
Evaluation:There are no visible bands in the 25% eluate which was supposed to be and that means we didn’t manage to purify lactase successfully.
Conclusion:From the SDS PAGE we can conlude that the proteins including lactase were not dead as we firstly suggested but actually they didn’t exist in the samples due to a false switch up of the supernatant and the buffer solutions.

---
Evaluation Steps of our Experiment
PARTICLE FREE LYSATE – o-NPG-test (enzymatic activity assay)
ANION EXCHANGE CHROMATOGRAPHY (AEXC) – o-NPG + photometer (enzymatic activity assay)
SDS – PAGE – gel + calibration line (purity, molecular weight – lactase)
RAW MILK TEST – colour change (conc. of glucose)
EVALUATION

---
RAW MILK TEST
Observation: colour of the stripe after:
0 minutes~> yellow, negative of glucose
20 minutes~> yellow, negative
40~>yellow , negative
60~>yellow, negative
90~>yellow , negative
120~>yellow , negative
Evaluation: We evaluate that in the course of time the glucose did not show up
Conclusion: after doing the raw milk test we can confirm that there is no lactase in any of our samples because otherwise some of the stripes whould have reacted with the glucose and turn green.

---
Evaluation Steps of our Experiment
PARTICLE FREE LYSATE – o-NPG-test (enzymatic activity assay)
ANION EXCHANGE CHROMATOGRAPHY (AEXC) – o-NPG + photometer (enzymatic activity assay)
SDS – PAGE – gel + calibration line (purity, molecular weight – lactase)
RAW MILK TEST – colour change (conc. of glucose)
EVALUATION

---
EVALUATION
After Observing the fotometry and the SDS-PAGE we can certainly confirm that there hasn't been any lactase put into the samples used for further testing. This must have been caused by a switch up of our falcon tubes

---
Thank you for your attention!